## Slide 1: eDNA and qPCR survey data
Milly Jones
mlj23@kent.ac.uk
Eleni Matechou, Diana Cole, Alex Diana, Jim Griffin,
Sara Peixoto, Lori Lawson Handley, Andrew Buxton

## Slide 2: eDNA and qPCR survey data
eDNA: traces of DNA left by organisms in environmental samples such as water and soil
qPCR: Quantitative PCR is a technique used to amplify and quantify a target DNA molecule
Terminology:

## Slide 3: eDNA and qPCR survey data
qPCR survey pipeline
DNA availability:
  Across sites and time-points
Spatial
Temporal
Environmental Covariates
log(DNA)

## Slide 4: eDNA and qPCR survey data
Spatial
Temporal
Environmental Covariates
log(DNA)
Technical Covariates
Environmental Covariates
log(DNA)
qPCR survey pipeline
DNA availability:
  Across sites and time-points
DNA collection:
  In samples

## Slide 5: eDNA and qPCR survey data
Spatial
Temporal
Environmental Covariates
log(DNA)
Technical Covariates
Environmental Covariates
log(DNA)
Laboratory
qPCR survey pipeline
DNA availability:
  Across sites and time-points
DNA collection:
  In samples
DNA analysis:
  Model qPCR output on DNA concentration in the sample

## Slide 6: eDNA and qPCR survey data
Spatial
Temporal
Environmental Covariates
log(DNA)
Technical Covariates
Environmental Covariates
log(DNA)
Laboratory
qPCR survey pipeline
DNA availability:
  Across sites and time-points
DNA collection:
  In samples
DNA analysis:
  Model qPCR output on DNA concentration in the sample
Previous work:
[Espe et al. 2022] – artemis package
[Shelton et al. 2022] – spatial model for Pacific Hake
Our focus:
Modelling contamination and inhibition in the lab
qPCR output heteroscedasticity

## Slide 7: DNA analysis
Collected samples
Unknown Concentrations
Standards
Known Concentrations
K replicates
per sample
K* replicates
per standard
Plate p
Each plate contains:
Samples each divided into replicates
Standards (solutions of known DNA concentration) divided into replicates

## Slide 8: DNA analysis
M samples
Unknown Concentrations
Standards
Known Concentrations
Plate p
Contaminated
Inhibited
Contamination: presence of additional DNA in wells from lab through contaminated equipment or clothing
Inhibition: factors (substances or chemicals) interfering with the PCR process delaying DNA amplification
CT value – cycles to threshold, the (fractional) cycle number at which DNA is detected

## Slide 9: DNA analysis
CT.max
Heteroskedasticity: [Matz et al. 2013]

## Slide 11
0
1
2

## Slide 12: Final Comments
Prior sensitivity analysis on show these are robust to prior specification.
Ignoring contamination, inhibition, and heteroscedasticity leads to increased bias and uncertainty.
Contamination/inhibition can occur at lab or DNA collection stages. This approach does not account for the collection stage.

## Slide 13: References
Espe, M.B., Johnston, M., Blankenship, S.M., Dean, C.A., Bowen, M.D., Schultz, A., Schumer, G.: The artemis package for environmental DNA analysis in R. Environmental DNA 4(3), 523–532 (2022) https://doi.org/10.1002/edn3.277
Shelton, A.O., Ramon-Laca, A., Wells, A., Clemons, J., Chu, D., Feist, B.E., Kelly, R.P., Parker-Stetter, S.L., Thomas, R., Nichols, K.M., Park, L.: Environmental DNA provides quantitative estimates of pacific hake abundance and distribution in the open ocean. Proceedings of the Royal Society B 289(1971), 20212613 (2022) https://doi.org/10.1098/rspb.2021.2613
Matz, M.V., Wright, R.M., Scott, J.G.: No control genes required: Bayesian analysis of qRT-PCR data. PLOS ONE 8(8), 71448 (2013) https://doi.org/10.1371/journal.pone.0071448